##### FORM 1

TECHNICAL APPLICATION FOR A NEW OR UPGRADED FLUORIDATION SYSTEM

| Water utility: |  |
| --- | --- |
| Water supply: |  |
| Fluoride plant location: |  |
| Is supply currently fluoridated? | Yes ( No ( |
| Type of works: | Upgrade to existing system ( Replacement of existing system ( New fluoridation system ( Change in chemical concentration ( |
| Plant designer: |  |
| Contact details: |  |
| Is utility seeking subsidy for the works? | Yes ( No ( (Refer to Fluoride Capital Works Subsidy Guidelines) |
| Submitted by: (Water utility Director) |  |
| Contact details: |  |
| Date: |  |

- Employee responsible for supervision of addition of fluorine: 						Name:  __________________________________________________________________

Qualifications: ___________________________________________________________

- Name of proposed operator or operators: _________________________________________

List qualifications of each proposed operator: _____________________________________

- Approximate number of persons to be served: ____________________________________

- Towns and municipalities to be served: _________________________________________

- Estimated water consumption in megalitres per day:

Min. 	 Avge. 	 Max. _________________

- Instantaneous flow rate at point of fluoridation with plant operating:

Min.   	 Avge.	 Max: _________________

7.		Gravity or pumped supply: ___________________

- List of other chemicals now used in treatment of supply: ________________________________

- What provision, if any, exists for the testing and control of the water supply: ________________

- Proposed location of fluoridation equipment:  _________________________________________

- Location of precise point of fluoridation: _____________________________________________

- Provide a drawing showing the location of the fluoridation plant, the proposed fluoride dosing point, the water flowmeter, fluoride dosing interlock (eg. Flows witches)

- Describe flow signals to be used  to provide automatic control of the starting and stopping of the fluoride dosing system including interlock of signals (describe type of meter to be used and other hydraulic details pertaining to the automatic control of specific fluoridation equipment not clearly shown on plans): ________________________________________________________________

- Method to be followed in preventing back-siphonage or backflow of fluorine solution into potable water supply serving chemical feeder: _____________________________________________________________________________

- Name of manufacturer of equipment: _______________________________________________

- Dry feed fluoridation equipment: Capacity in kg/24 hrs with plant operating

Min.  _______________________________Max ____________________________.

- Solution feed fluoridation equipment: Capacity in L/24 hrs with plant operating

Min.________________________________Max____________________________.

- Fluoridation chemical to be used:   ________________________________________________

- Type of toxic dust respirators to be used:  ___________________________________________

- (a)  Details of equipment used for metering quantity of water fluoridated: _______________________

(b)     Date of installation of metering equipment: ______________________________________

- Method to be used in testing water for fluoride content: ________________________________